1. The effluent treatment system and disposal system shall be operated and maintained to ensure compliance with the conditions of this consent. Operation and maintenance includes:
   1. vegetation control on and around the storage facility;
   2. desludging;
   3. ensuring that there is adequate freeboard in ponds to allow for contingencies such as a pipe blockage; and
   4. cleaning, repairing and generally ensuring the integrity of the:
      1. irrigator
      2. stormwater diversion;
      3. sand trap;
      4. piping;
      5. pumps(s);
      6. pond wall; and
      7. fences.